## Februari 2025
No | Customer | Suplier | CID ABH | CID Supplier | Type of Issue | ABH Ticket Number | Supplier Ticket Number | Status | Date/Start Time | Date/End Time | Duration | Timezone | On Duty | Root Cause | Action Taken | Chronology | Cordination To Customer | Cordination To Supplier | Status RFO Send
1 | DCC | ABH | 202400154 |  | Link Down | #20250000102 |  | Closed | 2025-02-01 01:43 | 2025-02-01 17:59 | 16:16 | GMT+8 | Tian | There are no issues in our segments such as physical ports and backbone | Checking circuit log and monitoring | #20250000102 ¦ DCC (ABH) ¦ DCC report untuk CID: 202400154 namun tidak ada CID tersebut didatabase ¦ Sedang dikonfirmasi kembali apakah CID yang mereka maksud adalah CID: 202400155 ¦ Jika benar kita hanya provided service XC jadi minta untuk DCC konfirmasi ke user end to endnya terlebih dahulu atau mintakan status Power level ¦ Tunggu konfirmasi dari DCC ¦ Sudah disampaikan ke dcc hasil pengecekan dari sisi kita dan powertel bahwa tidak ada perubahan flapp pada port dan juga status l2vpn di sisi powertel ¦ FU konfirmasi dari DCC ¦ DCC minta ticket dihold Sementara ¦ Confirm untuk close ticket ¦ CLOSED | Email | WhatsApp |  | Link Down | Open | GMT/UTC | Luthfi | Email | yes
2 | ABH | Powertel |  | Cyber <> Sigma | Flapping | #20250000103 |  | Closed | 2025-02-01 01:43 | 2025-02-01 17:59 | 16:16 | GMT+8 | Farhan | There are no issues in provider segments such as physical ports and backbone | Checking circuit log and monitoring | #20250000103 ¦ ABH (Powertel) ¦ Flapping ¦ Cyber <> Sigma ¦ sudah di mintakan ke Powertel untuk cek status port facing customer di sisi Sigma dan cek status l2vpn, karena si sisi kita tidak ada flapping ¦ FU hasil pengecekan Powertel ¦ Hasil pengecekan Powertel normal dan tidak ada perubahan dan hasil pengecekan sudah disampaikan ke DCC ¦ FU konfirmasi dari DCC ¦ DCC confirm untuk close ticket dan sudah di berikan closure ¦ CLLOSED | WhatsApp | WhatsApp | yes | Traffic Drop | Closed | GMT+2 | Farhan | WhatsApp | No
3 | ABH | HSP | Link Neu <> Cyber | I-0122-008-01 | Link Down | #20250000104 |  | Closed | 2025-02-01 18:15 | 2025-02-01 18:40 | 0:25 | GMT+7 | Farhan | Impact kendala troubleshoting backbone | Dilakukan sambung ulang | #20250000104 ¦ ABH (HSP) B26-B9E-ZXP6 ¦ Link Down ¦ I-0122-008-01 - Link Neu <> Cyber ¦ sudah open tiket ke HSP ¦ Link Neu <> Cyber down pada 1 Feb 2025 18:15 WIB dan sudah disampaikan ke HSP untuk di cek ¦ FU hasil pengecekan HSP ¦ informasi dari HSP karena terkena impact tshoot backbone ¦ RFO Available ¦ Confirm for closed ¦ CLOSED | WhatsApp | WhatsApp | yes | Req. Allow & Adv. Prefix | Re-Open | GMT+3 | Fatoni | Telegram
4 | DCC | ABH-HSP | Neu<>MDC | L1 NEU-CYB ¦ No Service Order | Link Down | #20250000105 |  | Closed | 2025-02-01 19:17 | 2025-02-01 19:41 | 0:24 | GMT+8 | Farhan | Link down is caused by a Brittle Fiber Core. | Replaced core | #20250000105 ¦ DCC (ABH-HSP) ¦ Link Down ¦ Neu<>MDC ¦ DCC report bahwa circuit Neu <> MDC down pada Feb 1, 2025 19:17:13 GMT+8 dan impact karena kerjaan HSP ¦ DCC konfirm link kembali up jam 19:41:01(GMT+8) ¦ root cause dan action sudah disampaikan ke DCC ¦ Sedang disiapkan RFO Official ¦ Sudah disampaikan ke DCC ¦ CLOSED | WhatsApp | WhatsApp | yes | Packet Loss | Cancelled | GMT+4 | Syahrul | WeChat
5 | AOFEI | ABH-HSP | Neu <> Cyber | VLAN1981&1983 | Link Down | #20250000106 |  | Closed | 2025-02-01 18:15 | 2025-02-01 18:40 | 0:25 | GMT+7 | Farhan | Link down due to a brittle core issue in the NEU<>CYBER transmission | Resplicing Core | #20250000106 ¦ AOFEI (ABH-HSP) ¦ Link Down ¦ Neu <> Cyber ¦ Aofei report bahwa circuit Neu <> MDC down dan impact karena kerjaan HSP ¦ Root cause dan action sudah disampaikan ke Aofei ¦ CLOSED Note : No impact to the service because of the backup of VLAN1982 and 1984. | WeChat | WhatsApp | yes | Request Permit Access | Rescheduled | GMT+5 | Tian
6 | DCI | ABH | Public Exchange |  | Link Down | #20250000107 |  | Closed | 2025-02-01 18:15 | 2025-02-01 18:40 | 0:25 | GMT+7 | Tian |  |  |  | Email | Email | No |  |  | GMT+6
7 | Baoshuo | ABH-Crossnet |  | BTTIG_FO vlan535 | Intermittent | #20250000108 |  | Closed | 2025-02-03 15:20 | 2025-02-03 15:22 | 0:02 | GMT+8 | Haikal | Congestion on upstream telkom crossnet | reroute via LDM | 2. #20250000108 ¦ Baoshuo (Crossnet) ¦ Intermittent ¦ BTTIG_FO vlan535 ¦ Baoshuo report intermittent ¦ FU RFO dan konfirmasi ke Crossnet kenapa bisa intermitten ada issue dimana ¦ RFO available ¦ Konfirm Internal ¦ RFO sudah dikirimkan ¦ closed | WhatsApp | WhatsApp | yes | Maintenance |  | GMT+6+30 | Haikal
9 | LAXO | ABH-TELKOM | 202400002/IdEX-CAC 202400079/IdEX-CAC |  | Maintenance | #20250000110 |  | Closed |  |  |  | GMT+7 | Tian |  |  | 8. #20250000109 ¦ LAXO (ABH) ¦ 202400002/IdEX-CAC & 202400079 ¦ IdEX-CAC ¦ Reconfiguration Link BTC-JTN, maintenance pada 7 Februari 2025 (00.00 s/d 04.00) ¦ Sudah diannounced ke Cust ¦ Konfirm DWS |  |  |  | Flap & Down |  | GMT+7 | Dani
8 | LAXO | ABH-TELKOM | 202400002/IdEX-CAC 202400079/IdEX-CAC |  | Maintenance | #20250000109 |  | Closed |  |  |  | GMT+7 | Tian |  |  | 9. #20250000110 ¦ LAXO (ABH) ¦ 202400002/IdEX-CAC & 202400079 ¦ IdEX-CAC ¦ Reconfiguration Link BTC-JTN, maintenance pada 7 Februari 2025 (00.00 s/d 04.00) ¦ Sudah diannounced ke Cust ¦ Konfirm DWS |  |  |  | Flapping |  | GMT+8 | Damar
10 | Baoshuo | ABH-Crossnet |  | BTTIG_FO vlan535 | Link Down | #20250000111 |  | Closed | 2025-02-04 08:10 | 2025-02-04 14:00 | 5:50 | GMT+7 | Luthfi | fo cut damage by a truck | resplicing core | 3. #20250000111 ¦ Baoshuo (Crossnet) ¦ Link Down ¦ BTTIG_FO vlan535 ¦ Baoshuo report bahwa saat ping menuju Gateway tidak reach dan status network disconnected ¦ Sudah di open ticket ke CN ¦ Update dari CN bahwa ada FO cut di 10KM dari TS Matano dan team sedang menuju ke lokasi untuk tshoot ¦ FU progress dari CN ¦ Update dari CN bahwa FO cut impact dari tersangkut mobil tronton dan saat ini sedang dalam proses perbaikan ¦ Sudah disampaikan ke Baoshuo ¦ Link sudah kembali up periode 14:00 WIB ¦ Sudah di infokan ke Baoshuo ¦ Saat ini dalam proses perapihan ¦ FU RFO ke CN ¦ RFO Available ¦ Konfirm Internal ¦ RFO sudah dikirimkan ¦ closed | WhatsApp | WhatsApp | yes | Maintenance |  | GMT+9 | Yuniar Cantik
11 | DCC | ABH | L1 NEU-CYB ¦ No Service Order |  | Link Down | #20250000112 |  | Closed | 2025-02-04 11:22 | 2025-02-04 11:50 | 0:28 | GMT+8 | Luthfi | No issue in ABH segment the power and log is normal | Checking circuit log and monitoring | #20250000112 ¦ DCC (ABH) ¦ Link Down ¦ L1 NEU-CYB ¦ No Service Order ¦ DCC report port chanell 30 nya mengalami down dan sudah kembali resolved ¦ Dari hasil pengecekan log bahwa menunjukan tidak receive input power dari DCC ¦ Sudah disampaikan ke DCC beserta komparasi ¦ Update dari DCC boleh ignore ticket ini ¦ CLOSED | Email | Email | yes | Malfunction on the link |  | PDT
12 | Aofei | ABH | RR2-RD2/180124 RBN-CN | 10742-OWS-ABH-SIN IPT | Destiantion Unreachable | #20250000113 |  | Closed | 2025-02-04 12:27 | 2025-02-04 13:30 | 1:03 | GMT+7 | Luthfi | ABH does not receive the prefix and does not reach when tested from any network | Checking circuit log and monitoring |  | Email | Email | yes | High Latency |  |  | Sufyar
13 | Lingyun | Aofei-SSM | 202400094 | SSM: L2 JKT<>Kendal Aofei: N_20240809_021 (JKT-HK) | Packet Loss & Latency Increase | #20250000114 |  | Closed | 2025-02-05 12:40 | 2025-02-05 12:40 | 0:00 | GMT+7 | Luthfi |  | Normal by itself | 2. #20250000114 ¦ Lingyun (Aofei-SSM) ¦ Packet Loss & Latency Increase ¦ 202400094 ¦ Dari monitoring terlihat traffic lingyun sempat interrupt periode 05/02/2025 12:40 GMT+7 ¦ Sudah di proactive ke Lingyun ¦ Update dari Lingyun bahwa customernya confirm mengalami packet loss dan high latency ¦ Sudah di open ticket ke Aofei&SSM ¦ FU hasil pengecekan keduanya ¦ Status saat ini sudah normal ¦ Monit ¦ Tunggu konfirmasi Lingyun kembali ¦ Closed | Email | Email | yes | Packet Loss & Latency Increase |  |  | Adit
14 | Aofei | ABH-OWS | RR2-RD2/180124 RBN-CN | 10742-OWS-ABH-SIN IPT | Destiantion Unreachable | #20250000115 |  | Closed | 2025-02-05 16:37 | 2025-02-05 18:08 | 1:31 | GMT+7 | Syahrul | There are no issues in the ABH segment and test results are normal and reach towards the destination. | Checking circuit log and monitoring | #20250000115 ¦ Aofei(ABH-OWS) Destiantion Unreachable ¦ 10742-OWS-ABH-SIN IPT ¦ Aofei report koneksi ke 203.153.22.2, 203.153.22.1 ¦ FU pengecekan OWS ¦ Hasil pengecekan terlihat bahwa tidak ada issue ¦ Confirm untuk close ticket ke Aofei ¦ Confirm close ¦ CLOSED | Email | Email | No |  |  |  | Bayu
15 | NTTG_CAMPINA | ABH-ICON+ | 202400152 | 111401008538 | Interupption | #20250000116 |  | Closed | 2025-02-06 03:48 | 2025-02-06 03:56 | 0:08 | GMT+7 | Tian | Link Interrupt | Reroute by NOC ICON+ | 3. #20250000116 ¦ NTTG_CAMPINA (ABH-ICON+) ¦ Link Interrupt (Cust No Complain) ¦ terpantau traffic drop pada cacti 03:48 sd 03:56 dan cek l2tpnya pada device reset ¦ Dari hasil pengecekan tim Icon adanya gangguan pada jalur segment Cawang - Ujung Berung dan sudah dilakukan perbaikan jalur ¦ Monitoring dan minta RFO ke Icon ¦ CLOSED |  | WhatsApp |  | Bit Error
16 | DCC | ABH | L1 NEU<>CYB |  | Link Down | #20250000117 |  | Closed | 2025-02-08 18:39 | 2025-02-08 20:34 | 1:55 | GMT+7 | Syahrul | There is no issue in the ABH segment where the DCC device in MDC does not send power to the ABH device, causing the port to shut down. | Checking circuit and log | #20250000117 ¦ DCC ( ABH ) ¦ L1 NEU<>CYB No Service Order ¦ DCC report bahwa mengalami link down neu<>cyb ¦ dari hasil capture yang diberikan terlihat bahwa perangkat DCC disisi MDC tidak mengirim power ke perangkat ABH ¦ konfirmasi ke DCC ¦ Tunggu 48 jam apabila setelahnya tidak ada update maka close ¦ CLOSED | Email | Email | No
17 | Linkcloud | Aofei | VLAN3702 |  | Maintenance | #20250000118 |  | Open |  |  |  | GMT+7 | Syahrul |  |  |  | Email | Email | No | Interupption
18 | THC | ABH | AB22011 |  | Link Down | #20250000119 |  | Closed | 2025-02-08 18:02 | 2025-02-08 18:04 | 0:02 | GMT+7 | Syahrul | Activity di APJII | Auto Recovered | #20250000119 ¦ THC (ABH) ¦ THC Report port mengalami flapping 1 menit ¦ Impact activity internal ¦ Auto recovery | Email | Email | yes
19 | CU | ABH-JLM | 202300020 |  | Link Down | #20250000120 |  | Closed | 2025-02-06 12:00 | 2025-02-06 12:00 | 0:00 | GMT+7 | Haikal | We did not receive any power on the NeuCentrIX side that caused a link down. | Checking circuit, log, and monitoring. | #20250000120 ¦ CU (ABH-JLM) ¦ Link Down ¦ 202300020 ¦ Terlihat port dari CU di sisi Neu mengalami down sejak 06/02/2025 12:00 ¦ Dalam pengecekan dari sisi kita tidak terima power dari arah customer ¦ Feedback dari CU, bahwa mereka sampai saat ini tidak ada report dari customernya ¦ FU Feedback dari CU ¦ Confirm dari CU dapat close ticket ¦ CLOSED | Email | Email | No
20 | CTG-ALI | ABH-IIX | 202300003 |  | Link Down | #20250000121 |  | Closed | 2025-02-10 03:34 | 2025-02-10 03:34 | 0:00 | GMT+7 | Haikal | [6 empty] | Power Low |  |  | Giovanni
21 | ABH | Powertel |  | 320100017 ¦ NEU<>CYBER | Link Down | #20250000122 | T9P-5WQ-VW43 | Closed | 2025-02-10 08:54 | 2025-02-10 19:19 | 10:25 | GMT+7 | Tian | FO Cut km 6 dari Tomang | jumper 300 meter & Resplicing Core | #20250000122 ¦ ABH (Powertel) T9P-5WQ-VW43 ¦ 320100017 ¦ Link Down NEU<>CYBER ¦ Info Powertel terdapat FO cut imbas pekerjaan pembersihan ¦ FU progressnya ¦ Powertell sudah melakukan jumper kabel dan penyambungan ulang ¦ Link sudah kembali up periode 10/02/2025 19:19:28 WIB ¦ Sudah di infokan ke PWTL ¦ FU RFO ke PWTL ¦ RFO sudah diberikan oleh PWTL ¦ Validasikan ke Intl ¦ CLOSED | Email | Email | yes | Intermittent
22 | [5 empty] | #20250000123 | [13 empty] | Network Freeze
23 | ABH | Linknet | Req Advertised | Req Advertised |  | #20250000124 |  | Closed | [11 empty] | Req. Adjust route
24 | Shopee | ABH-LA | AB22021-A (Line-1) AB22021-B (Line-2) | 2022330002 | Maintenance | #20250000125 |  | Closed | 2025-02-17 00:01 | 2025-02-17 05:00 | 4:59 | GMT+7 | Luthfi | Preventive maintenance to upgrade the backbone capacity of the Cibitung-Jakarta segment by relocating the backbone port from the Nx100G node to the new Nx400G node to prevent link congestion. | Preventive maintenance to upgrade the backbone capacity of the Cibitung-Jakarta segment by relocating the backbone port from the Nx100G node to the new Nx400G node to prevent link congestion. | Downtime Estimation : 60 minutes | Email | Email | No | BGP Down
25 | DCC | ABH | DC: NEX DC Date: 10-Feb-25 Time: 21PM-24PM（GMT+8） SOW: Check the power supply on the NEX DC device | DC: NEX DC Date: 10-Feb-25 Time: 21PM-24PM（GMT+8） SOW: Check the power supply on the NEX DC device | Request Check Power | #20250000126 |  | Closed | 2025-02-10 21:00 | 2025-02-11 | 3:00 | GMT+7 | Luthfi |  |  | RHS DCC - #202500011 ¦ DCC (ABH) ¦ Re: RHS Request for Patching Activity at NEX DC ¦ 10/02/2025 21:00 - 24:00 GMT+7 ¦ Done closed | Email | Email | No | Prefix Leaking
26 | CU | ABH | 202300020 |  | Maintenance | #20250000127 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. | #20250000127 ¦ CU (ABH) ¦ 202300020 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
27 | OWS | ABH | AB22025 |  | Maintenance | #20250000128 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | No downtime. Each port will be relocated separately. | #20250000128 ¦ OWS (ABH) ¦ AB22025 - IdEX-hybrid ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
28 | AOFEI-ALIBABA | ABH | XC-369 XC-370 |  | Maintenance | #20250000129 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | No downtime. Each port will be relocated separately. | #20250000129 ¦ Aofei (ABH) ¦ XC-369 ¦ XC-370 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No | Destination Unreachable
29 | Jupter | ABH | AB23028 |  | Maintenance | #20250000130 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. | #20250000130 ¦ Jupiter (ABH) ¦ AB23028 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No | Terminated
30 | Aofei-Tencent ISC | ABH | 202400051 |  | Maintenance | #20250000131 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. | #20250000131 ¦ Aofei (ABH) ¦ 202400051 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
31 | THC | ABH | AB22011 |  | Maintenance | #20250000132 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. | #20250000132 ¦ THC (ABH) ¦ AB22011 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
32 | CTG-ALI | ABH | 202300003 |  | Maintenance | #20250000133 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. | #20250000133 ¦ CTG (ABH) ¦ 202300003 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
33 | DCC-WangsuNex2 CAC | ABH | 202400221 |  | Maintenance | #20250000134 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. |  | #20250000134 ¦ DCC (ABH) ¦ 202400221 ¦ VLAN889 ¦ VLAN893 ¦ VLAN890 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
34 | DCC | ABH | 202400221 - WangsuNEX2 IPT 202400154 - SIGMA 202400220 - LL Arthamedia |  | Maintenance | #20250000135 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. | #20250000135 ¦ DCC (ABH) ¦ 202400221 ¦ 202400154 ¦ 202400220 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No | Request Check Prefix
35 | Baishan | ABH | Multiple Service | 202400149 VLAN793 202300006 VLAN794 202400150 VLAN795 | Maintenance | #20250000136 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | No downtime. Each port will be relocated separately. | #20250000136 ¦ Baishan (ABH) ¦ 202400149 ¦ 202300006 202400150 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
36 | Platinum | ABH | 202400078 |  | Maintenance | #20250000137 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. | #20250000137 ¦ PLATINUM (ABH) ¦ 202400078 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
37 | DCC-ARTAMEDIA | ABH | 202400220 |  | Maintenance | #20250000138 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. |  | Email | Email | No
38 | 3GO-IIX | ABH | 202400097 | RG3-RR2/240424 | Maintenance | #20250000139 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. | #20250000139 ¦ 3GO (ABH) ¦ 202400097 (RG3-RR2/240424) ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
39 | CBC | ABH | 202400143 |  | Maintenance | #20250000140 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | No downtime. Each port will be relocated separately. | #20250000140 ¦ CBC (ABH) ¦ 202400143 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
40 | DCC-SIGMA-CYB | ABH | 202400154 |  | Maintenance | #20250000141 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. |  | Email | Email | No
41 | Magna | ABH | 202500012 |  | Maintenance | #20250000142 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. | #20250000142 ¦ Magna (ABH) ¦ 202500012 - IdEX-hybrid ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
42 | Port Baishan-IIX | ABH | 202400096 |  | Maintenance | #20250000143 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. | #20250000143 ¦ Baishan (ABH) ¦ 202400096 - G3-RR2/060524 IIX-EDGENEXT ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
43 | IDCH | ABH | AB21009 |  | Maintenance | #20250000144 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | No downtime. Each port will be relocated separately. | #20250000144 ¦ IDCH (ABH) ¦ AB21009 ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
44 | Aofei | ABH | VLAN1891-VLAN1893 & VLAN1892-VLAN1894 | Neu <> Cyb | Maintenance | #20250000145 | Completed | Closed | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | No downtime. Each port will be relocated separately. | #20250000145 ¦ Aofei (ABH) ¦ (VLAN1891-VLAN1892 & VLAN1893-VLAN1894) ¦ Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 ¦ February 23th, 2025 ¦ Announced ¦ COMPLETED | Email | Email | No
45 | DCC | ABH | DC: NEX DC Date: 11-Feb-25 Time: 12PM-selesai（GMT+8） SOW: Check the power supply on the NEX DC device | DC: NEX DC Date: 11-Feb-25 Time: 12PM-selesai（GMT+8） SOW: Check the power supply on the NEX DC device | Request | #20250000126 | RHS DCC - #202500012 | Closed | 2025-02-11 12:00 | 2025-02-11 14:17 | 2:17 | GMT+7 | Tian |  |  | Done | Email | Email | No
46 | NTTG - PHC | ABH | 202400250 |  | Maintenance | #20250000147 |  | Open | 2025-02-23 | 2025-02-23 06:00 | 6:00 | GMT+7 | Haikal | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. |  | Email | Email | No | Power Degrade
47 | DCC | ABH | DC: Neu DC Date: 12-Feb-25 Time: 10AM-13PM（GMT+7） SOW: To take 2 pcs 100G QSFP from below switch, and power off the DCC server and switch that newly install at Neu R36 | DC: Neu DC Date: 12-Feb-25 Time: 10AM-13PM（GMT+7） SOW: To take 2 pcs 100G QSFP from below switch, and power off the DCC server and switch that newly install at Neu R36 | Request Take QSFP | #20250000148 | RHS DCC - #202500014 | Closed | 2025-02-12 10:00 | 2025-02-12 13:00 | 3:00 | GMT+7 | Tian |  |  |  | Email | WhatsApp | No
48 | DCC | ABH | DC: NEX DC Date: 12-Feb-25 Time: 15PM-18PM（GMT+7） SOW: Request for power up server and patching at NEX DC | DC: NEX DC Date: 12-Feb-25 Time: 15PM-18PM（GMT+7） SOW: Request for power up server and patching at NEX DC | Req Check | #20250000149 | RHS DCC - #202500013 | Closed | 2025-02-12 15:00 | 2025-02-12 18:00 | 3:00 | GMT+7 | Tian |  |  | #202500013 ¦ DCC (ABH) ¦ Request for power up server and patching at NEX DC ¦ 12/02/2025 15:00-18:00 GMT+7 ¦ DONE | Email | WhatsApp | No | Jitter
49 | DCC | ABH |  | L1 NEU-CYB ¦ No Service Order | Maintenance | #20250000150 |  | Closed | 2025-02-16 | 2025-02-16 06:00 | 6:00 | GMT+7 | Luthfi | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Preventive maintenance for port relocation and cable management of cross-connects at APJII CYBER1 to ensure network stability. | Totally Down for a maximum of 60 minutes. | Email | Email | No | Packet Loss
50 | Linkcloud | SSM | 202400094 | HK<>Kendal | Link Down | #20250000151 | 202502196 | Closed | 2025-02-13 00:58 | 2025-02-13 06:22 | 5:24 | GMT+7 | Tian | Broadcast Multicast menyebabkan looping pada sisi IDC <> Kendal pada POP Server SSM | Rerouting Link terdampak | #20250000151 ¦ Lingyun (SSM) ¦ IEPL Kendal - Mega-I ¦ Lingyun report vlan3702 down sejak 02:00 GMT+8 ¦ Info dari SSM ada multicast broadcast pada IDC<>Kendal dan normal kembali setelah di reroute ¦ sudah dijelaskan ke Lingyun ¦ RFO Available ¦ RFO Official belum dikirim ¦ Prepared ke internal ¦ RFO sudah di release ke customer ¦ CLOSED | WeChat | WhatsApp | yes
51 | ABH | DCC | BGP Genie | SDPP202411110001 | BGP Down | #20250000152 |  | Closed | 2025-02-12 19:06 | 2025-02-12 21:31 | 2:25 | GMT+7 | Tian | Konfirmasi dari DCC bahwa adanya issue pada storage server dan action dari tim DCC adalah relokasi storage dari VM lain | Konfirmasi dari DCC bahwa adanya issue pada storage server dan action dari tim DCC adalah relokasi storage dari VM lain | #20250000152 ¦ ABH (DCC) ¦ SDPP202411110001 ¦ BGP Genie down pada february 12, 19:05:56 to 21:30:56 GMT+7 ¦ Info dari DCC disk usage terlalu tinggi yang menyebabkan VM freeze dan dilakukan adjusted disk dan system recovery ¦ Sedang konfirmasi ke DCC ¦ Konfirmasi dari DCC bahwa adanya issue pada storage server dan action dari tim DCC adalah relokasi storage dari VM lain ¦ Sudah di konfirmasi ke internal ¦ Confirm untuk close ticket ¦ CLOSED | Email | Email | No | Routing Error
52 | ABH | XL | Req Check Prefix | Req Check Prefix | Req Check Prefix | #20250000153 |  | Closed |  |  |  |  | Tian |  |  | #20250000153 ¦ N25021300378 ¦ Minta XL untuk advertised prefix ke NAPMIX ¦ FU Progressnya ¦ Info dari tim XL bahwa prefix tersebut tidak di Adv ke Napmix karena milik End Customer nya XL dan Internal XL ¦ CLOSED
53 | DCC | ABH |  |  | Traffic Drop | #20250000154 |  | Closed |  |  |  |  | Tian | Pro-Active Traffict Drain | Info DCC Igone saja | Info DCC Igone saja | Email | Email
54 | DCC | ABH | Request for taking 2 DCC Switch at Neucentrix R36 to NEX DC | Request for taking 2 DCC Switch at Neucentrix R36 to NEX DC | Req RHS | #20250000155 |  | Closed | 2025-02-13 16:00 | 2025-02-13 18:00 | 2:00 | GMT+7 | Tian | Request for taking 2 DCC Switch at Neucentrix R36 to NEX DC | Request for taking 2 DCC Switch at Neucentrix R36 to NEX DC |  | Email | Email
55 | DCC | ABH | Request for power up server and patching at NEX DC | Request for power up server and patching at NEX DC | Req RHS | #20250000156 |  | Closed | 2025-02-14 09:00 | 2025-02-14 18:00 | 9:00 | GMT+7 | Tian | Request for power up server and patching at NEX DC | Request for power up server and patching at NEX DC | Request for power up server and patching at NEX DC | Email | Email
56 | DCC | ABH | Request for taking 2 DCC Switch at Neucentrix R36 to NEX DC | Request for taking 2 DCC Switch at Neucentrix R36 to NEX DC | Req RHS | #20250000157 |  | Closed | 2025-02-13 16:00 | 2025-02-13 18:00 | 2:00 | GMT+7 | Tian | Request for taking 2 DCC Switch at Neucentrix R36 to NEX DC | Request for taking 2 DCC Switch at Neucentrix R36 to NEX DC |  | Email | Email
57 | Wangsu | DCC | 202400109 | ABH202406110001 | Packet Loss & Latency Increase | #20250000158 |  | Closed | 2025-02-13 15:08 | 2025-02-13 15:55 | 0:47 | GMT+8 | Luthfi | Backbone line interruption caused traffic to switch to the backup line, which took a suboptimal path through Malaysia, leading to packet loss. | Optimized the backup line routing | #20250000158 ¦ Wangsu IEPL (DCC) ¦ Packet Loss & Latency Increase ¦ 202400109 ¦ Wangsu report untuk circuit IEPL nya periode 13/2/2025 15:08 - 15:55 GMT+8 ¦ Sudah di open ticket ke DCC ¦ FU DCC untuk hasil pengecekan dan update selanjutnya ¦ Update dari DCC bahwa adanya issue pada main path dan saat ini di switch ke jalur backup (Malay), Kondisi saat ini sedang solve it jalur utama ¦ Konfirmasi ke DCC detail switch jalur backupnya dan apakah ini opsi permanent ¦ FU konfirm ke DCC ¦ Update dari DCC bahwa main link sudah sepenuhnya di solve it dan packet loss tidak akan terjadi kembali dikarenakan DCC telah adjust rute backup untuk optimize efisiensi jaringannya ¦ Sudah disampaikan ke Wangsu ¦ Update dari Wangsu bahwa link sudah kembali stabil sampai sekarang ¦ FU RFO ke DCC ¦ RFO sudah diberikan validasi ke internal untuk close ticket ¦ RFO sudah disampaikan ¦ Official akan di kirim pada Working Days ¦ CLOSED | WeChat | Email | yes
58 | Bausho | ABH-Crossnet | BTIIG |  | Link Down | #20250000159 |  | Closed | 2025-02-13 04:40 | 2025-02-13 15:40 | 11:00 | GMT+7 | Tian | Fiber Optic Cut Impact Snagged by Car and the finding of kinked cable at KM 8 Lalona Village | Fo Cut and cable pulling at KM 8 Lanona Village | #20250000159 ¦ Bausho (ABH-Crossnet) ¦ Link Down ¦ BTIIG ¦ CN report bahwa BTIIG Main FO down periode 13/02/2025 04:45 WIB ¦ FU Progressnya ke CN ¦ Update dari CN bahwa issue Backbone dikarenakan tersangkut mobil ¦ Saat ini sedang dalam progress tracing titik cut ¦ BB sudah kembali di resplice dan service kembali up periode 13/02/2025 15:40 GMT+7 ¦ FU RFO ke CN ¦ RFO available ¦ Prepare RFO Internal Kirim Pagi Ini ¦ RFO sudah di buat ¦ CLOSED | WhatsApp | WhatsApp | yes
59 | Infobip | ABH-DCC | AB23039 | SDPP202308040002 | Packet Loss | #20250000160 | TT-2025120531 | Closed | 2025-02-13 07:10 | 2025-02-13 09:27 | 2:17 | GMT/UTC | Luthfi |  |  | 1. #20250000160 ¦ Infobip (ABH-DCC) ¦ Packet Loss ¦ AB23039 ¦ Infobip report linknya mengalami packet loss periode 13/02/2025 07:10 - 9:27 UTC dan meminta untuk di check terkait reasonnya ¦ Sudah di open ticket ke DCC ¦ FU update dan hasil pengecekan selanjutnya dari DCC ¦ Update dari DCC bahwa port interkoneksi rusak, saat ini sudah diganti dengan yang baru dan status port sudah normal ¦ konfirm infobip ¦ Confirm dari Infobip bahwa service masih mengalami packet loss ¦ Sudah disampaikan ke DCC ¦ FU DCC untuk hasil temuannya ¦ Sudah dikordinasikan ke DCC untuk pasang ip dummy segment JKT<>SG<>FR5 ¦ Update dari DCC bahwa tidak bisa memasang ip dummy dan menyarankan untuk memakai loopback ip ¦ Sudah di tanyakan ke DCC mengapa tidak bisa memasang ip dummy ¦ Update dari DCC bahwa perangkat mereka tiap segment sudah memakai ip loopback dan tidak perlu memakai ip dummy ¦ Sedang dimintakan hasil ping per segment ke DCC ¦ FU ke DCC untuk hasilnya ¦ Hasil ping sudah diinfokan ke infobip ¦ konfirmasi ke infobip ¦ minta dcc ping all segment ¦ Ping All Segment available ¦ Mintakan Live ping test ke DCC saat peak hours hingga selesai peak hours ¦ Update dari DCC bahwa hasil packet loss kembali terjadi dan sedang di investigasi ¦ FU hasil pengecekan dari DCC ¦ closed | Email | Email | yes
60 | Aofei | ABH | Local Loop Neu<>Cyb |  | Link Down | #20250000161 |  | Closed | 2025-02-16 01:45 | 2025-02-16 02:15 | 0:30 | GMT+8 | Syahrul | Link down due to double FO Cut | Repair and resplicing | #20250000161 ¦ Aofei ( ABH ) ¦ Local Loop Neu<>Cyb ¦ Link Down ¦ aofei report mengalami link down pada Link local loop ¦ down disebabkan activity maintenance ¦ backup via VPLS 2550 ¦ Prepare RFO dan Validasi Internal ¦ RFO sudah disampaikan ke Aofei ¦ CLOSED | WeChat |  | yes
61 | Aofei | ABH-CDI | XC370 |  | Link Down | #20250000162 |  | Closed | 2025-02-16 04:20 | 2025-02-16 04:38 | 0:18 | GMT+7 | Syahrul | activity on DC Apjii | no action | 2. #20250000162 ¦ Aofei ( ABH - CDI ) ¦ XC370 ¦ Link Down ¦ aofei report mengalami link down pada xc370 ¦ down disebabkan karena activity maintenance ¦ traffic sudah recovered karena tercabut saat maintenance ¦ Prepared RFO dan Validasi Intenal ¦ RFO sudah diberikan, konfirmasi dan close ticket | WeChat |  | yes
62 | Aofei | ABH-OWS |  |  | Destiantion Unreachable | #20250000163 |  | Closed | 2025-02-17 04:13 | 2025-02-17 04:13 | 0:00 | GMT+7 | Syahrul |  |  | #20250000163 ¦ Aofei ( ABH-OWS ) ¦ Dest. Unreach ¦ RR2-RD2/180124 RBN-CN ¦ Aofei report mengalami dest unreach pada destinasi 103.13.136.253, 103.13.136.254 ¦ fu pengecekan ows ¦ konfirmasi Aofei ¦ Dari hasil pengecekan bahwa route pada destinasi sempat reset pada jam tersebut ¦ Route di dapati dari OIXP ¦ Confirm ke Aofei ¦ Hold 24 jam ¦ CLOSED | Email | WeChat | yes
63 | ABH | ISC |  |  | Request Permit Access | #20250000164 |  | Open | 2025-02-17 | 2025-02-20 |  | GMT+7 | Syahrul |  |  |  | Email | Email | No
64 | BiznetGio | ABH | AB23033 |  | Req. Allow & Adv. Prefix | #20250000165 |  | Closed | 2025-02-18 |  |  | GMT+7 | Haikal | allow prefix 103.87.66.0/23 le 24 | allow prefix 103.87.66.0/23 le 24 | #20250000165 ¦ BiznetGio (ABH) ¦ BiznetGio meminta allow prefix 103.87.66.0/23 le 24 ¦ di sisi kita sudah allow ¦ FU ke Mba Aul untuk update apakah sudah progress ke Telkom ¦ CLOSED | Email | Email | No
65 | DCC | ABH | RHS Request for patching at EDGE DC | RHS Request for patching at EDGE DC | Req RHS | #20250000166 | Ticket RHS #202500018 | Closed | 2025-02-18 | 2025-02-18 |  | GMT+7 | Tian |  |  |  | Email | Email | No
66 | Aofei | ABH | Req. Pemit, Inbound, & Outbound Access | Req. Pemit, Inbound, & Outbound Access | Request Permit Access | #20250000167 |  | Closed | 2025-02-19 09:00 | 2025-02-19 17:00 | 0:18 | GMT+7 | Tian | Req. Permit Inbound & Outbound from Neu to MDC
67 | DCC | ABH-ISPL | 202400083 | CID New : 241101-100G-IPLC-Matrix EQXSG1-EDGE-TMBS CID Old : 231006_100G_EQX-EDGE | Maintenance | #20250000168 | #2025-0020120 | Closed | 2025-02-26 23:00 | 2025-02-27 07:00 | 0:18 | GMT+7 | Tian | Urgent Maintenance for Cut Over Relocation at Street Kali Besar Kota Tua, Jakarta | Urgent Maintenance for Cut Over Relocation at Street Kali Besar Kota Tua, Jakarta | Downtime 10 minutes. | Email | Email | No
68 | DCC | ABH | Proactive-Ticket - Link DWDM Channel 9300 |  | Tidak terima Power | #20250000169 |  | Closed |  |  |  | GMT+7 | Tian | Boleh diignore info dari DCC | Boleh diignore info dari DCC | Boleh diignore info dari DCC | Email | Email | No
69 | OWS | ABH-ISPL | AB22025 | 240404-OTTP-ABH_25G>90G-EDG-DC | Maintenance | #20250000170 | #2025-0020144 | Closed | 2025-02-28 | 2025-02-28 05:00 | 5:00 | GMT+7 | Tian | Preventive Maintenance and Routing Engine switchover test at POP EDGE, CYBER Jakarta | Preventive Maintenance and Routing Engine switchover test at POP EDGE, CYBER Jakarta | No downtime and auto switch over to Domestic Exchange (IIX, OIXP) | Email | Email | No
70 | OWS | ABH-ISPL | AB22025 | 240404-OTTP-ABH_25G>90G-EDG-DC | Maintenance | #20250000171 | #2025-0020129 | Closed | 2025-06-03 23:00 | 2025-07-03 03:30 | 700:30 | GMT+7 | Tian | Upgrade IOS-XR 7.11.2 on JKT-KPI-OTT-ASR9006 | Upgrade IOS-XR 7.11.2 on JKT-KPI-OTT-ASR9006 | No downtime and auto switch over to Domestic Exchange (IIX, OIXP) | Email | Email | No
71 | Platinum | ABH | 202400078 |  | Flapping | #20250000172 |  | Closed | 2025-02-19 14:48 | 2025-02-19 16:06 | 1:18 | GMT+7 | Tian | Cable bending on data center | Pelurusan kabel | 2. #20250000171 ¦ Platinum (ABH) ¦ Flapping port xe-0/0/11 di MDC ¦ Issue kabel XC bending di R2 APJII ¦ up dan normal setelah diluruskan ¦ Monitoring terlebih dahulu ¦ RFO sudah diberikan ¦ CLOSED | WhatsApp | WhatsApp | yes
72 | Aofei | ABH-ISPL | AB20015 Vlan58 | IEPL 10G SG1-EDGE | Maintenance | #20250000173 | #2025-0020144 | Open | 2025-02-28 | 2025-02-28 05:00 | 5:00 | GMT+7 | Luthfi | Preventive Maintenance and Routing Engine switchover test at POP EDGE, CYBER Jakarta | Preventive Maintenance and Routing Engine switchover test at POP EDGE, CYBER Jakarta | No downtime and auto switch over to Domestic Exchange (IIX, OIXP) | Email | Email | No
73 | OWS | ABH | AB22025 | Vlan4063 | Destiantion Unreachable | #20250000174 |  | Closed | 2025-02-21 01:04 | 2025-02-21 05:05 | 4:01 | GMT+7 | Luthfi | The circuit went down due to a loop on APJII switch caused by new integration on partner | Update a MAC filter on partner side | 1. #20250000174 ¦ OWS (ABH) ¦ Destiantion Unreachable ¦ AB22025 Vlan4063 ¦ OWS report beberapa destinasinya 157.66.188.1, 103.160.54.1, 103.160.55.1, 110.44.172.1 mengalami unreachable dan meminta di check ¦ Jika di check bahwa issue ini related dengan downya peer 767 ISPL ¦ Issue sudah kembali resolved periode 21/02/2025 05:05 GMT+7 ¦ Berikan RFO sesuai informasi dari ISPL ¦ RFO sudah diberikan ¦ Closed | Email | Email | yes
74 | ABH | ISPL | 240607-ABH-IPT-APJ-766 | Vlan766 & Vlan767 | BGP Down | #20250000175 |  | Closed | 2025-02-21 00:12 | 2025-02-21 04:58 | 4:46 | GMT+7 | Luthfi | The circuit went down due to a loop on APJII switch caused by new integration on partner | Update a MAC filter on partner side | 2. #20250000175 ¦ ABH (ISPL) ¦ BGP Down ¦ Vlan766 & Vlan767 ¦ Dari monitoring kita lihat peer Vlan766 & Vlan767 mengalami down periode 21/2/2025 0:12 dan failover ke peer Vlan768 ¦ Sudah di open ticket ke ISPL ¦ BGP sudah kembali established periode 21/2/2025 04:58 GMT+7 ¦ Sudah di open ticket ke ISPL ¦ FU RFO ke ISPL ¦ RFO Available ¦ Closed | Email | Email | yes
75 | DCC | ABH | RHS Request to Take Down Equipment at Nex DC SOW as below: - Dismantle all DC3-05-06 and DC3-05-07 equipment from the rack - Move out the equipment that been stored in NEX staging room as well - Delivery from NEX DC to Menara Kadin handled by ABH, this delivery cost been discussed with Elsy that to compensate with equivalent N number of tickets - To arrange neatly at the Menara Kadin office | RHS Request to Take Down Equipment at Nex DC | Req. RHS | #20250000176 | Ticket RHS - #202500019(Buat cek history) - #202500020 - #202500021 - #202500022 | Open | 24/02/2025 TBA | 24/02/2025 TBA |  | GMT+7 | Tian | SOW as below: - Dismantle all DC3-05-06 and DC3-05-07 equipment from the rack - Move out the equipment that been stored in NEX staging room as well - Delivery from NEX DC to Menara Kadin handled by ABH, this delivery cost been discussed with Elsy that to compensate with equivalent N number of tickets - To arrange neatly at the Menara Kadin office |  | SOW as below: - Dismantle all DC3-05-06 and DC3-05-07 equipment from the rack - Move out the equipment that been stored in NEX staging room as well - Delivery from NEX DC to Menara Kadin handled by ABH, this delivery cost been discussed with Elsy that to compensate with equivalent N number of tickets - To arrange neatly at the Menara Kadin office | Email | Email | No
76 | DCC | ABH | Req. Permit Outbound | Req. Permit Outbound | Request Permit Access | #20250000177 |  | Open | 24/02/2025 TBA | 24/02/2025 TBA |  | GMT+7 | Tian | Relokasi 36 Server dan 4 Swicth dari Nex DC ke Menara Kadin | Relokasi 36 Server dan 4 Swicth dari Nex DC ke Menara Kadin |  | Email | Email | No
77 | Baoshuo | Crossnet |  | BTTIG_FO vlan535 | Link Down | #20250000178 |  | Closed | 2025-02-22 08:29 | 2025-02-22 17:29 | 9:00 | GMT+7 | Syahrul | Kabel Putus Impact Tertiban tebangan pohon di KM 14 Desa Wosu | Dilakukan Fo Cut dan penarikan kabel di Km 14 Desa Wosu | 3. #20250000178 ¦ Baoshuo (Crossnet) ¦ Link Down ¦ BTTIG_FO vlan535 ¦ Hasil monitoring terpantau link main FO down ¦ Fu pengecekan Crossnet ¦ Hasil pengecekan terdapat 2 event fault ¦ Tim crossnet menuju titik CP estimasi jam 13:11 ¦ Info crossnet kabel nya putus akibat terkena tebangan pohon ¦ proses penarikan kabel baru ¦ Fu update terbaru ¦ RFO sudah available ¦ Share RFO Senin ¦ Closed | WhatsApp | WhatsApp | yes | BGP Flap
78 | 3GO | ABH | SO: 202400140 | 202400140-MDC-B09-100GE1/0/1-APJII-R2 | Link Down | #20250000179 |  | Closed | 2025-02-23 02:53 | 2025-02-23 11:05 | 8:12 | GMT+7 | Luthfi | Link down occur from IOH side | Link has been restored from IOH side | #20250000179 ¦ 3GO (ABH) ¦ Link Down ¦ XC MDC>R2 202400140-MDC-B09-100GE1/0/1-APJII-R2 ¦ Team 3GO japrii bahwa bahwa XC nya down dan infonya facing ke IOH ¦ Sudah dimintakan detail label XC dikedua sisi dan saat di check oleh tim ke Rack B09 semua light di device 3GO normal dan up ¦ Parrarel sudah requestkan check ke Apjii dan parrarel passtikan kembali ke customer apakah link masih issue ¦ Konfirm ke 3GO ¦ Konfirm 3GO Masalah di sisi IOH ¦ Closed siang ini | Email | Email | yes
79 | Aofei | ABH | XC-369 |  | Link Down | #20250000180 |  | Closed | 2025-02-23 06:25 | 2025-02-23 10:17 | 3:52 | GMT+7 | Syahrul | No anomalies founded on xc | Link has been restored by it self | #20250000180 ¦ AOFEI (ABH-CDI) ¦ Link Down ¦ XC-369 ¦ Aofei report link masih mengalami down impact maintenance ¦ Fu pengecekan CDI ¦ Status ini sudah up no action dari sisi ABH ¦ Monit terlebih dahulu ¦ CLOSED | Email | Email | yes
80 | CTG | ABH | ALL CID CTG | ALL CID CTG | Network Freeze | #20250000181 |  | Closed | 2025-03-03 | 2025-03-11 23:59 | -7.5715 | GMT+8 | Syahrul | Network Freeze | Network Freeze | Network Freeze | Email | Email | No
81 | CTG | Cloudata | 202300001 | Cable ID/XC: 363/NET X/2020 Cable ID/XC: 364/NET X/2020 | Network Freeze | #20250000182 |  | Closed | 2025-03-03 | 2025-03-11 23:59 | 215:59 | GMT+8 | Syahrul | Network Freeze
82 | CTID - SANY | TIS | 202400066 | 156039 | Network Freeze | #20250000183 |  | Closed | 2025-03-03 | 2025-03-11 23:59 | 215:59 | GMT+8 | Syahrul
83 | CTID - YUTO | Fibernet | 202400153 | IN18B056 | Network Freeze | #20250000184 |  | Closed | 2025-03-03 | 2025-03-11 23:59 | 215:59 | GMT+8 | Syahrul
84 | Aofei | ABH | Neucentrix Karet |  | Request Permit Access | #20250000185 |  | Open |  |  |  | GMT+8 | Syahrul
85 | ABH | IIX | RS1 IPV6 |  | Flapping | #20250000186 |  | Closed |  |  | 0:00 | GMT+7 | Haikal |  |  | 1. #20250000186 ¦ IIX (ABH) ¦ Multiple Flapping ¦ Masih termonitor flapping pada IPV6 facing IIX ¦ IIX belum buka tiket nya ¦ Sudah di eskali ke Personal Chat ¦ ID Tiket : APJII-0001-9730 ¦ FU kembali ¦ Update dari IIX bahwa issue sudah di atasi ¦ Tunggu hinga BGP V6 stabil selama 24 jam lalu close ¦ Close jam 6 sore
86 | Wangsu | DCC | 202400109 | ABH202406110001 | High Latency | #20250000187 | TT-2025115148 | Closed | 2025-02-24 18:13 | 2025-02-26 08:15 | 38:02 | GMT+8 | Haikal | There was a link down on HK<>Indonesia main backbone line which caused the line to be diverted to a backup line resulting in increased latency | Repair fiber in the affected main line, and the link has been reroute back to the main link | 2. #20250000187 ¦ Wangsu (DCC) ¦ 202400109 ¦ High Latency ¦ Wangsu report high latency pada 24/02/2025 18:13 ¦ Update dari DCC bahwa adanya interruption pada main link nya ¦ FU update dari DCC ¦ Mainlink saat ini sedang proses repair dan akan di switch back ke main line pada 28 Feb 2025 ¦ Saat ini sudah di swithc back ke Main Line ¦ Update dari DCC bahwa main link sudah retored secara permanent ¦ Sudah disampaikan ke Wangsu ¦ FU konfirmasi ke Wangsu ¦ konfirmasi dari Wangsu untuk latency kembali normal 2025/02/26 08:15 GMT+8 ¦ FU RFO ke DCC ¦ RFO available ¦ Review ¦ Send RFO to Wangsu ¦ RFO Sudah dikirim ¦ CLOSED
[11 empty] | 0:00 |  |  |  |  | 【DCC01181857】 Help receive express MY82276893891 ¦ DCC meminta untuk menerima barang dan tracking packet ¦ Sedang di tanyakan ke DCC detail barang, waktu dan ekspedisi pengantarannya ¦ FU konfirmasi dari DCC ¦ Infonya reschedule pada Mid Februari ¦ Sudah diinfokan ke DCC untuk reschedulenya harap reminder terlebih dahulu ¦ barang dikirim estimasi 18 feb - 21 feb ¦ Info dari DCC perkiraan 3 hari barang tiba ¦ Barang sudah diterima ¦ CLOSED
87 | Aofei | ABH | XC-369 | 151/NET/JKT2/III/2023 | Link Down | #20250000188 |  | Closed | 2025-02-25 00:18 | 2025-02-25 00:56 | 0:38 | GMT+7 | Tian | Circuit down | No Action (Issue disisi Customernya Aofei) | #20250000188 ¦ Aofei report circuit down (XC-369) ¦ Konfirmasi minta status power pada dua sisi ¦ info dari Aofei sedang ada activity dari customer mereka | Email | WhatsApp
88 | WANGSU-NEX-2 | ABH | 202400221 |  | Maintenance | #20250000189 |  | Closed | 2025-03-02 | 2025-03-02 03:00 | 0.125 | GMT+7 | Syahrul | Urgent maintenance to replace the damaged cross-connect cables at Cyber1 APJII | Maximum downtime of 15 minutes per port | Urgent Maintenance | Email | Email | No
89 | DCC | ABH | L1 DWDM NEU<>CYB | L1 NEU-CYB ¦ No Service Order | Link Down | #20250000190 |  | Closed | 2025-02-26 17:53 | 2025-02-26 18:01 | 0:08 | GMT+8 | Luthfi | Link down due to flapping in NEU<>Cyber transmission. There was no activity on the ABH or vendor side | No action has been taken | #20250000190 ¦ DCC (ABH) ¦ Link Down ¦ L1 NEU-CYB ¦ No Service Order ¦ DCC report sevicenya mengalami down periode 26/02/2025 17:53 - 18:01 GMT+8 ¦ Sudah di open ticket ¦ Dari hasil pengecekan bahwa Link Down impact flapping nya BB Neu<>Cyb via HSP periode 26/02/2025 16:52:47 - 16:52:53 GMT+7 ¦ Sudah disampaikan ke DCC ¦ Monitoring dahulu untuk kestabilannya ¦ Link stabil selama 18 jam dan sudah di konfirmasi ke DCC untuk close ticket ¦ FU konfirmasi dari DCC ¦ Update dari DCC bahwa hold ticket terlebih dahulu hingga stabil selama 24 jam lalu close ticket | Email | Email | yes
90 | IOH | Telkom | AB23029 | 1773283635 & 1773218210 | Link Down | #20250000191 |  | Open | 2025-02-26 20:35 | 2025-02-27 00:20 | 3:45 | GMT+7 | Tian
91 | Aofei | ABH-OWS | RR2-RD2/180124 RBN-CN | 10742-OWS-ABH-SIN IPT | Destiantion Unreachable | #20250000192 |  | Closed |  |  |  | GMT+7 | Luthfi |  |  | 2. #20250000192 ¦ Aofei (OWS) ¦ Dest Unreachable ¦ CID RR2-RD2/180124 RBN-CN ¦ Aofei report dest 103.28.74.41,103.28.74.184,103.28.74.191 ¦ Dari hasil pengecekan di sisi ABH bahwa route tidak di temukan dalam table route VRF OWS, namun dari Global route, ditemukan via XL ¦ Hasil pengecekan dari tim OWS bahwa ketiga IP tersebut tidak bisa di akes via international ¦ Sudah disampaikan ke Aofei ¦ Hold 24 jam dan bisa diclosed jika tidak ada respon dari custnya Aofei ¦ Close jam 4 sore
92 | Sea | ABH |  |  | Req. Allow & Adv. Prefix | #20250000193 |  | Closed |  |  |  | GMT+7 | Syahrul
93 | Seabank | ABH | AB21015 |  | Intermittent | #20250000194 |  | Open |  |  |  | GMT+7 | Syahrul
94 | Infinia-DCC | Artamedia | 202400197 202400220 |  | Link Down | #20250000195 |  | Closed |  |  |  | GMT+7 | Syahrul | There was an issue on the link and it has been solved, the MAC Address has been detected again but cannot be pinged because the service has not been used. | Checking circuit log and monitoring | #20250000195 ¦ (Pro-active) Infinia-DCC ( Artamedia ) ¦ 202400197 202400220 ¦ Link Down ¦ Hasil monitoring ping ip 103.130.199.90 dan 103.130.199.146 tidak reach ¦ Hasil observasi dari Artamedia ditemukan bahwa port LAN tidak dicolok ¦ FU konfirmasi DCC ¦ Saat ini sedang di lakukan pengecekan lebih lanjut oleh tim Artha ¦ Pengecekan akan dilanjut besok oleh tim Artha ¦ Update dari tim Artha bahwa Mac-Address sudah tembus dan saat di check port facing customer di Switch LA hasil nya status port up suspect link belum di gunakan ¦ Sedang di make sure ke Infinia oleh tim DCC ¦ Update dari DCC bahwa Infinia tidak menggunakan servicenya ¦ Sudah di confirm ke internal untuk close ticket ¦ CLOSED | Email | Email | No